Building Description

Structure

Skeleton type (reinforced concrete elements) and brick walls the structure

Strictly complies with all applicable legislation and extensive checks on

materials and usage.

Outer walls

Hollow Bricks with continuous painted cement rendering

concrete on the exterior.

Terraces:

Balcony and terrace-walls are built of brick with Iron and/or Wooden

railings, terraces and sun terraces are water proofed in accordance to

regulations and finished with high quality of ceramic tiles some are fitted with Wooden pergolas .

Paint work

Smooth water-based paint on walls and ceiling.

Roof

Fitted with thermal insulation and water proofing clay and finished with

Egyptian ceramic tiles.

Partitions

Clay bricks partitions between apartments clay bricks interior partitions between

rooms continuous cement covering on walls and ceiling, smooth  plaster ceiling  in

kitchen and other areas, as required .

Floors :

Stone ware ceramic interior floor tiles and skirting boards rustic finish ceramic

floor tiles skirting broads and steps in out door communal areas

Tiling – kitchen and bathroom

Kitchen walls tilled  up to the ceiling  with top quality tiles

Bathroom and water closet walls tiled up to ceiling with top quality tiles

Windows

Aluminum  single glazing in the living room, bed room and kitchen windows etc.

Interior Carpentry

Solid Wooden frontdoor fitted with safety lock

Interior doors furnished on both sides with lacquer finishing.

Kitchens

Water supply and drainage points, in addition to electrical points for washing

machine and. countertop and stainless steel sink .

Sanitary ware  and plumbing

Top quality Duravit Vitrifled  white porcelain sanitary ware and single lever

chrome taps cross-linked polyethylene water supply piping .

Electrical installation

Design and protection for lights and sockets in full compliance with current

legislation

- 3- bed apartments have 22 electrical sockets spreading throughout apartment

rooms , Pticino  electrical accessories in all rooms,

-    18  electrical sockets for 2 bedroom apartment

-    13 electrical sockets for 1 bedroom apartment .

Air conditioning

Pre installation for air conditioning in living rooms and bed rooms ( split units ).

Telephone and internet outlets

For all apartments available in our standard, 4 outlets , accommodate IP telephony

and internet access

The service can be activated or and expended as per client request.

Tv Arial outlets

1 in each bedroom ,1 in living room. Connection for

satellite television ( Dish )